QUICK-ACTION GUIDE

Yellow Water Leak Spill Kits

Located:  In select custodial closets in all buildings, with “Spill Kit Station” door signs.

Contents:

- Absorbent pads for liquid

cleanup and long socks or booms to contain or direct leak

- Nitrile disposable gloves

- Clear and black waste disposal bags for cleanup

- Squeegee for directing water off tables and desks

- Plastic sheeting to cover sensitive equipment, electronics, or vital records.

Wet Floor Signs:  Place yellow “Caution Wet Floor” signs at key entrances and exits to warn others of leak.

CONTACT:

Katherine Strain, MS

WNC Environmental Health and Safety (EH&S)

775-445-3348

katherine.strain@wnc.edu

BUILDING

WATER LEAK

SPOTLIGHT ON SAFETY

IF YOU FIND A WATER LEAK: STOP, LOOK, AND ACT

1. SAFETY FIRST (Don’t be a Hero)

Avoid Standing Water: If water is near electrical outlets, power strips, or server racks, STAY BACK.

2. Slip Hazard: Walk carefully! Surfaces become extremely slick instantly. Proceed with caution.

3. NOTIFY the AUTHORITIES IMMEDIATELY (Make the Calls!)

Report Emergencies to 911

Call Campus Police (UPDNC) 775-230-1952

Call Facilities 24 -Hour On Call: 775-580-4983.

State your name, building, room number, and the severity of the leak.

3. STOP THE SPREAD (If Safe and Trained to do so)

Identify the Source: Is it a sink, toilet, or ceiling, etc.?

Do not attempt to fix the plumbing yourself or touch any main building valves unless you have been specifically trained to do so.

4. Use the Kit:

- Grab the yellow Emergency Water Leak Spill Kit and the "Caution Wet Floor" signs from the “Spill Kit Station” labeled custodial closet.

- Immediately place yellow “Caution Wet Floor” signs at key entrances and exits to warn others of the leak.

- Use the absorbent "socks and booms" (long tubes) to create a barrier at the doorway or around electronics. Lay down absorbent pads over water.

- Cover Electronics: If water is dripping from the ceiling, throw a plastic tarp or plastic sheeting over sensitive equipment, electronics, computers and printers or vital records.

5. Contact your Department Head or Supervisor and inform them of the leak.

6. OBSERVE & DOCUMENT

While waiting for Facilities or Campus Police, Note:

- Where the water is coming from.

- Time the leak was found and actions taken.

- If safe, take a quick photo with your phone to show the technicians the original state of the leak.